## LOG Base 10 Take
1 | Efficiency = (10(-1/m))-1 |  |  | Serial 1: | 8 | The user is free to adjust any value in red font |  | qPCR Toy: j.m.g. 8-2-06 | [13 empty] | Serial 1: | 10 |  |  | qPCR Toy: j.m.g. 8-2-06 |  |  |  |  | Serial 1: | 2 |  |  | qPCR Toy: j.m.g. 8-2-06 | Dilution Curve Plot (e.g. calibration or standard qPCR curve)
|  |  | Choose Efficiency: |  | 100% | in order to interrogate the effect efficiency has | [14 empty] | Input | LOG10 of input | Cq | [5 empty] | no impingement from poor prior efficiencies figured in - striCqly in between consecutive Cqs are weighed…
2 | Efficiency + 1 = (10(-1/m)) |  | Input | LOG10 of input | Cq | on the slope of any qPCR serial dilution profile … | [14 empty] | 1 | 0 | 21 | initial Cq |  | Overall observed efficiency here: | 100% |  | Ideal Cqs | Input | LOG10 of input | Observed Cq
|  |  | 1 | 0 | 23 | initial Cq | 23 | Cqx*LOG2EAMPx/LOG2EAMPy = Cqy | [12 empty] | 0.1 | -1 | 24.3219 | 100% | apparent initial efficiency |  |  |  | 16 | 1 | 0 | 16 | initial Cq
3 | (Efficiency + 1)-m = 10 |  | 0.125 | -0.90309 | 26 |  |  | Cqx | 32 | 1.87 | EAMPx | [9 empty] | 0.01 | -2 | 27.6439 | 100% | impinged upon efficiency cumulative from prior deficiency |  |  |  | 17 | 0.5 | -0.30103 | 14.9 | -46.75% | partial efficiency 1
|  |  | 0.015625 | -1.8062 | 29 |  |  | Cqy | 40.9964 | 1.63 | EAMPy | [9 empty] | 0.001 | -3 | 30.9658 | 100% | impinged upon efficiency cumulative from prior deficiency |  |  |  | 18 | 0.25 | -0.60206 | 14.77 | -99.52% | partial efficiency 2
4 | -mLOG10(E+1) = 1 |  | 0.0019531 | -2.7093 | 32 | [15 empty] | 0.0001 | -4 | 34.2877 | 100% | impinged upon efficiency cumulative from prior deficiency |  |  |  | 19 | 0.125 | -0.90309 | 16 | 75.69% | partial efficiency 3
|  |  | 0.00024414 | -3.6124 | 35 | [23 empty] | 20 | 0.0625 | -1.2041 | 17.23 | 75.69% | partial efficiency 4
5 | LOG10(E+1) = 1/-m | [27 empty] | 21 | 0.03125 | -1.5051 | 18.3 | 91.13% | partial efficiency 5
[29 empty] | 22 | 0.015625 | -1.8062 | 19.43 | 84.67% | partial efficiency 6
6 | (-LOG10(E+1))-1 = m | [27 empty] | 23 | 0.0078125 | -2.1072 | 20.5 | 91.13% | partial efficiency 7
[29 empty] | 24 | 0.0039062 | -2.4082 | 21.67 | 80.84% | partial efficiency 8
| 1/-LOG10(Eamp) = slope | [27 empty] | 25 | 0.0019531 | -2.7093 | 22.7 | 96% | partial efficiency 9
1 | 100% | Efficiency | [9 empty] | MORE OVER THIS WAY | [15 empty] | MORE OVER THIS WAY | 26 | 0.00097656 | -3.0103 | 23.844 | 83.29% | partial efficiency 10
| 2 | Eamp | [26 empty] | 27 | 0.00048828 | -3.3113 | 24.88 | 95.24% | partial efficiency 11
| -0.30103 | -LOG10(Eamp) | [26 empty] | 28 | 0.00024414 | -3.6124 | 26 | 85.68% | partial efficiency 12
| -3.3219 | 1/-LOG10(Eamp) | [26 empty] | 29 | 0.00012207 | -3.9134 | 27.01 | 98.63% | partial efficiency 13
| = | slope
[29 empty] | Here, the user is free to adjust any value in red font above … |  |  |  |  | 118.6%
[29 empty] | to see the effect of Cq on the partial efficiencies that arise |  |  |  |  | 146.7%
[29 empty] | between immediately adjacent points on the accompanying |  |  |  |  | 199.5%
[29 empty] | graph. This is useful for any user-known dilution series … |  |  |  |  | 75.69%
75.69%
91.13%
84.67%
91.13%
80.84%
96%
83.29%
95.24%
85.68%
[30 empty] | MORE OVER THIS WAY |  |  |  | 98.63% |  |  |  | Overall observed actual efficiency here: | 101.7%
[34 empty] | 101.6% |  | and since: | 1/-LOG10(Eamp) = slope,
[20 empty] | This depiction I believe is an incorrect way to think about partial efficiencies (i.e. that sub-optimal efficiencies are cumulative and compound themselves as the | [13 empty] | Efficiency estimated from the |  |  |  | The slope here = | -3.2829
[20 empty] | dilution profile progresses). In no real-life situation does this ever appear to be the case; so, move on over to the right here for what I consider to be the more | [13 empty] | average of all partial efficiencies
[20 empty] | accurate depiction of "partial efficiencies" … | [13 empty] | with the theoretic zeroth order initial efficiency
|  | In reality, reactions with poor efficiencies (<70%) will generally show more variability (and "Monte Carlo" effect) than those reactions with robust, | [31 empty] | being calculated by EXCEL forecast function …
|  | near-ideal behaviors. Realize that this tool shows much better behaviors at all efficiencies than would actually be experienced in real life. | [18 empty] | MORE OVER THIS WAY
Xn = Xo(2)n = Xo(1+E)Ct
[13 empty] | 1-8-06 jmg |  |  |  | Solving for E and other parameters … |  |  |  | CqStart (or relative zero) |  |  |  | Xo = | 1
[17 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 21 |  |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[14 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 | l = | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  | Xo = | 1
[14 empty] | 23 |  | Cts away from idealty | f = | 8 | f = dilution factor between samples | 24.3219 |  | 24.3219 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 16 |  | Cts away from idealty | f = | 2 | f = dilution factor between samples
[13 empty] | Ideal |  | Observed | 0 | l = | 3 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | -2.1 | l = | -1.1 | l = attained frequency
[13 empty] | 26 |  | 26 |  | E = | 100% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 17 |  | 14.9 |  | E = | -46.75% | Xn/Xo = (1+E)Ct
[17 empty] | DCT = | 3 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | -1.1
[17 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[17 empty] | if Xn = | 8 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[17 empty] | Xn = | 8 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 0.46652 | if E = 1
[17 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 24.3219 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[14 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 |  | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[14 empty] | 26 |  | Cts away from idealty | f = | 8 | f = dilution factor between samples | 27.6439 |  | 27.6439 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 14.9 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[13 empty] | Ideal |  | Observed | 0 | l = | 3 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | -1.13 |  | -0.13 | l = attained frequency
[13 empty] | 29 |  | 29 |  | E = | 100% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 15.9 |  | 14.77 |  | E = | -99.52% | Xn/Xo = (1+E)Ct
[17 empty] | DCT = | 3 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | -0.13
[17 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[17 empty] | if Xn = | 8 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[17 empty] | Xn = | 8 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 0.91383 | if E = 1
[17 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 27.6439 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[14 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 |  | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[14 empty] | 29 |  | Cts away from idealty | f = | 8 | f = dilution factor between samples | 30.9658 |  | 30.9658 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 14.77 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[13 empty] | Ideal |  | Observed | 0 | l = | 3 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | 0.23 |  | 1.23 | l = attained frequency
[13 empty] | 32 |  | 32 |  | E = | 100% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 15.77 |  | 16 |  | E = | 75.69% | Xn/Xo = (1+E)Ct
[17 empty] | DCT = | 3 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | 1.23
[17 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[17 empty] | if Xn = | 8 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[17 empty] | Xn = | 8 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 2.3457 | if E = 1
[17 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 30.9658 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[14 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 |  | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[14 empty] | 32 |  | Cts away from idealty | f = | 8 | f = dilution factor between samples | 34.2877 |  | 34.2877 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 16 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[13 empty] | Ideal |  | Observed | 0 | l = | 3 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | 0.23 |  | 1.23 | l = attained frequency
[13 empty] | 35 |  | 35 |  | E = | 100% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 17 |  | 17.23 |  | E = | 75.69% | Xn/Xo = (1+E)Ct
[17 empty] | DCT = | 3 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | 1.23
[17 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[17 empty] | if Xn = | 8 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[17 empty] | Xn = | 8 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 2.3457 | if E = 1
[17 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 34.2877 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[14 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | -37.6096 |  | -34.2877 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[14 empty] | 35 |  | Cts away from idealty | f = | 8 | f = dilution factor between samples | 37.6096 |  | 0 |  |  | E = | -6.495% | Xn/Xo = (1+E)Ct | [13 empty] | 17.23 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[13 empty] | Ideal |  | Observed | 0 | l = | 3 | l = expected frequency | [5 empty] | DCT = | -34.2877 | [13 empty] | Ideal next |  | Observed | 0.07 |  | 1.07 | l = attained frequency
[13 empty] | 38 |  | 38 |  | E = | 100% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 18.23 |  | 18.3 |  | E = | 91.13% | Xn/Xo = (1+E)Ct
[17 empty] | DCT = | 3 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | 1.07
[17 empty] | or again: | [7 empty] | Xn = | 4.7684e-11 | if E = 1 | [16 empty] | or again:
[17 empty] | if Xn = | 8 | [25 empty] | Xn = | 2
[17 empty] | Xn = | 8 | if E = 1 | [24 empty] | Xn = | 2.0994 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 18.3 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.13 |  | 1.13 | l = attained frequency
[40 empty] | 19.3 |  | 19.43 |  | E = | 84.67% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.13
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.1886 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 19.43 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.07 |  | 1.07 | l = attained frequency
[40 empty] | 20.43 |  | 20.5 |  | E = | 91.13% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.07
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.0994 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 20.5 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.17 |  | 1.17 | l = attained frequency
[40 empty] | 21.5 |  | 21.67 |  | E = | 80.84% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.17
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.2501 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 21.67 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.03 |  | 1.03 | l = attained frequency
[40 empty] | 22.67 |  | 22.7 |  | E = | 96% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.03
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.042 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 22.7 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.144 |  | 1.144 | l = attained frequency
[40 empty] | 23.7 |  | 23.844 |  | E = | 83.29% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.144
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.2099 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 23.844 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.036 |  | 1.036 | l = attained frequency
[40 empty] | 24.844 |  | 24.88 |  | E = | 95.24% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.036
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.0505 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 24.88 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.12 |  | 1.12 | l = attained frequency
[40 empty] | 25.88 |  | 26 |  | E = | 85.68% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.12
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.1735 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[41 empty] | Ct Start (or relative zero) |  |  |  | 1
[41 empty] | 26 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[40 empty] | Ideal next |  | Observed | 0.01 |  | 1.01 | l = attained frequency
[40 empty] | 27 |  | 27.01 |  | E = | 98.63% | Xn/Xo = (1+E)Ct
[44 empty] | DCT = | 1.01
or again:
[44 empty] | Xn = | 2
[44 empty] | Xn = | 2.0139 | if E = 1
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)

## LOG base 2 Take
1 | Efficiency = (2(-1/m))-1 |  |  | Serial 1: | 10 | The user is free to adjust any value in red font | qPCR Toy: j.m.g. 1-18-06 | [10 empty] | Serial 1: | 10 |  |  | qPCR Toy: j.m.g. 8-2-06 |  |  |  |  | Serial 1: | 2 |  |  | qPCR Toy: j.m.g. 8-2-06 | Dilution Curve Plot (e.g. calibration or standard qPCR curve)
|  |  | Choose Efficiency: |  | 80% | in order to interrogate the effect efficiency has | [10 empty] | Input | LOG2 of input | Cq | [5 empty] | no impingement from poor prior efficiencies figured in - strictly in between consecutive Cqs are weighed…
2 | Efficiency + 1 = (2(-1/m)) |  | Input | LOG2 of input | Cq | on the slope of any qPCR serial dilution profile … | [10 empty] | 1 | 0 | 21 | initial Cq |  | Overall observed efficiency here: | 100% |  | Ideal Cts | Input | LOG2 of input | Observed Cq
|  |  | 1 | 0 | 23 | initial Cq | [10 empty] | 0.1 | -3.3219 | 24.3219 | 100% | apparent initial efficiency |  |  |  | 16 | 1 | 0 | 16 | initial Cq
3 | (Efficiency + 1)-m = 2 |  | 0.1 | -3.3219 | 26.9174 | [11 empty] | 0.01 | -6.6439 | 27.6439 | 100% | impinged upon efficiency cumulative from prior deficiency |  |  |  | 17 | 0.5 | -1 | 14.9 | -46.75% | partial efficiency 1
|  |  | 0.01 | -6.6439 | 30.8348 | [11 empty] | 0.001 | -9.9658 | 30.9658 | 100% | impinged upon efficiency cumulative from prior deficiency |  |  |  | 18 | 0.25 | -2 | 14.77 | -99.52% | partial efficiency 2
4 | -mLOG2(E+1) = 1 |  | 0.001 | -9.9658 | 34.7521 | [11 empty] | 0.0001 | -13.2877 | 34.2877 | 100% | impinged upon efficiency cumulative from prior deficiency |  |  |  | 19 | 0.125 | -3 | 16 | 75.69% | partial efficiency 3
|  |  | 0.0001 | -13.2877 | 38.6695 | [19 empty] | 20 | 0.0625 | -4 | 17.23 | 75.69% | partial efficiency 4
5 | LOG2(E+1) = 1/-m | [23 empty] | 21 | 0.03125 | -5 | 18.3 | 91.13% | partial efficiency 5
[25 empty] | 22 | 0.015625 | -6 | 19.43 | 84.67% | partial efficiency 6
6 | (-LOG2(E+1))-1 = m | [23 empty] | 23 | 0.0078125 | -7 | 20.5 | 91.13% | partial efficiency 7
[25 empty] | 24 | 0.0039062 | -8 | 21.67 | 80.84% | partial efficiency 8
| 1/-LOG2(Eamp) = slope | [23 empty] | 25 | 0.0019531 | -9 | 22.7 | 96% | partial efficiency 9
0.8 | 80% | Efficiency | [5 empty] | MORE OVER THIS WAY | [15 empty] | MORE OVER THIS WAY | 26 | 0.00097656 | -10 | 23.844 | 83.29% | partial efficiency 10
| 1.8 | Eamp | [22 empty] | 27 | 0.00048828 | -11 | 24.88 | 95.24% | partial efficiency 11
| -0.848 | -LOG2(Eamp) | [22 empty] | 28 | 0.00024414 | -12 | 26 | 85.68% | partial efficiency 12
| -1.1792 | 1/-LOG2(Eamp) | [22 empty] | 29 | 0.00012207 | -13 | 27.01 | 98.63% | partial efficiency 13
| = | slope
[25 empty] | Here, the user is free to adjust any value in red font above … |  |  |  |  | 118.6%
[25 empty] | to see the effect of Cq on the partial efficiencies that arise |  |  |  |  | 146.7%
[25 empty] | between immediately adjacent points on the accompanying |  |  |  |  | 199.5%
[25 empty] | graph. This is useful for any user-known dilution series … |  |  |  |  | 75.69%
75.69%
91.13%
84.67%
91.13%
80.84%
96%
83.29%
95.24%
85.68%
[26 empty] | MORE OVER THIS WAY |  |  |  | 98.63% |  |  |  | Overall observed actual efficiency here: | 101.7%
[30 empty] | 101.6% |  | and since: | 1/-LOG10(Eamp) = slope,
[16 empty] | This depiction I believe is an incorrect way to think about partial efficiencies (i.e. that sub-optimal efficiencies are cumulative and compound themselves as the | [13 empty] | Efficiency estimated from the |  |  |  | The slope here = | -3.2829
[16 empty] | dilution profile progresses). In no real-life situation does this ever appear to be the case; so, move on over to the right here for what I consider to be the more | [13 empty] | average of all partial efficiencies |  |  |  | Or, in LOG base 2 language, the slope is: | -0.98826
[16 empty] | accurate depiction of "partial efficiencies" … | [13 empty] | with the theoretic zeroth order initial efficiency
|  | In reality, reactions with poor efficiencies (<70%) will generally show more variability (and "Monte Carlo" effect) than those reactions with robust, | [27 empty] | being calculated by EXCEL forecast function …
|  | near-ideal behaviors. Realize that this tool shows much better behaviors at all efficiencies than would actually be experienced in real life. | [14 empty] | MORE OVER THIS WAY
Xn = Xo(2)n = Xo(1+E)Ct
[9 empty] | 1-8-06 jmg |  |  |  | Solving for E and other parameters … |  |  |  | CqStart (or relative zero) |  |  |  | Xo = | 1
[13 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 21 |  |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[10 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 | l = | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  | Xo = | 1
[10 empty] | 23 |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | 24.3219 |  | 24.3219 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 16 |  | Cts away from idealty | f = | 2 | f = dilution factor between samples
[9 empty] | Ideal |  | Observed | 0.59545 | l = | 3.9174 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | -2.1 | l = | -1.1 | l = attained frequency
[9 empty] | 26.3219 |  | 26.9174 |  | E = | 80% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 17 |  | 14.9 |  | E = | -46.75% | Xn/Xo = (1+E)Ct
[13 empty] | DCT = | 3.9174 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | -1.1
[13 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[13 empty] | if Xn = | 10 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[13 empty] | Xn = | 15.1095 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 0.46652 | if E = 1
[13 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 24.3219 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[10 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 |  | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[10 empty] | 26.9174 |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | 27.6439 |  | 27.6439 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 14.9 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[9 empty] | Ideal |  | Observed | 0.59545 | l = | 3.9174 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | -1.13 |  | -0.13 | l = attained frequency
[9 empty] | 30.2393 |  | 30.8348 |  | E = | 80% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 15.9 |  | 14.77 |  | E = | -99.52% | Xn/Xo = (1+E)Ct
[13 empty] | DCT = | 3.9174 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | -0.13
[13 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[13 empty] | if Xn = | 10 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[13 empty] | Xn = | 15.1095 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 0.91383 | if E = 1
[13 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 27.6439 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[10 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 |  | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[10 empty] | 30.8348 |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | 30.9658 |  | 30.9658 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 14.77 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[9 empty] | Ideal |  | Observed | 0.59545 | l = | 3.9174 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | 0.23 |  | 1.23 | l = attained frequency
[9 empty] | 34.1567 |  | 34.7521 |  | E = | 80% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 15.77 |  | 16 |  | E = | 75.69% | Xn/Xo = (1+E)Ct
[13 empty] | DCT = | 3.9174 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | 1.23
[13 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[13 empty] | if Xn = | 10 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[13 empty] | Xn = | 15.1095 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 2.3457 | if E = 1
[13 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 30.9658 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[10 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | 0 |  | 3.3219 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[10 empty] | 34.7521 |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | 34.2877 |  | 34.2877 |  |  | E = | 100% | Xn/Xo = (1+E)Ct | [13 empty] | 16 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[9 empty] | Ideal |  | Observed | 0.59545 | l = | 3.9174 | l = expected frequency | [5 empty] | DCT = | 3.3219 | [13 empty] | Ideal next |  | Observed | 0.23 |  | 1.23 | l = attained frequency
[9 empty] | 38.0741 |  | 38.6695 |  | E = | 80% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 17 |  | 17.23 |  | E = | 75.69% | Xn/Xo = (1+E)Ct
[13 empty] | DCT = | 3.9174 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | 1.23
[13 empty] | or again: | [7 empty] | Xn = | 10 | if E = 1 | [16 empty] | or again:
[13 empty] | if Xn = | 10 | [6 empty] | Xn = Xo(2)n = Xo(1+E)Ct | [18 empty] | Xn = | 2
[13 empty] | Xn = | 15.1095 | if E = 1 |  | Ct Start (or relative zero) |  |  |  |  | 1 | [17 empty] | Xn = | 2.3457 | if E = 1
[13 empty] | Xn = Xo(2)n = Xo(1+E)Ct |  |  |  | 34.2877 |  |  | Cts away from idealty |  | 10 | f = dilution factor between samples | [16 empty] | Xn = Xo(2)n = Xo(1+E)Ct
[10 empty] | Ct Start (or relative zero) |  |  | Xo = | 1 |  | Ideal |  | Observed |  | -37.6096 |  | -34.2877 | l = expected frequency | [13 empty] | Ct Start (or relative zero) |  |  |  | 1
[10 empty] | 38.6695 |  | Cts away from idealty | f = | 10 | f = dilution factor between samples | 37.6096 |  | 0 |  |  | E = | -6.495% | Xn/Xo = (1+E)Ct | [13 empty] | 17.23 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[9 empty] | Ideal |  | Observed | 0.59545 | l = | 3.9174 | l = expected frequency | [5 empty] | DCT = | -34.2877 | [13 empty] | Ideal next |  | Observed | 0.07 |  | 1.07 | l = attained frequency
[9 empty] | 41.9915 |  | 42.5869 |  | E = | 80% | Xn/Xo = (1+E)Ct | [5 empty] | or again: | [14 empty] | 18.23 |  | 18.3 |  | E = | 91.13% | Xn/Xo = (1+E)Ct
[13 empty] | DCT = | 3.9174 | [6 empty] | Xn = | 10 | [17 empty] | DCT = | 1.07
[13 empty] | or again: | [7 empty] | Xn = | 4.7684e-11 | if E = 1 | [16 empty] | or again:
[13 empty] | if Xn = | 10 | [25 empty] | Xn = | 2
[13 empty] | Xn = | 15.1095 | if E = 1 | [24 empty] | Xn = | 2.0994 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 18.3 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.13 |  | 1.13 | l = attained frequency
[36 empty] | 19.3 |  | 19.43 |  | E = | 84.67% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.13
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.1886 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 19.43 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.07 |  | 1.07 | l = attained frequency
[36 empty] | 20.43 |  | 20.5 |  | E = | 91.13% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.07
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.0994 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 20.5 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.17 |  | 1.17 | l = attained frequency
[36 empty] | 21.5 |  | 21.67 |  | E = | 80.84% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.17
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.2501 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 21.67 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.03 |  | 1.03 | l = attained frequency
[36 empty] | 22.67 |  | 22.7 |  | E = | 96% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.03
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.042 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 22.7 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.144 |  | 1.144 | l = attained frequency
[36 empty] | 23.7 |  | 23.844 |  | E = | 83.29% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.144
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.2099 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 23.844 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.036 |  | 1.036 | l = attained frequency
[36 empty] | 24.844 |  | 24.88 |  | E = | 95.24% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.036
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.0505 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 24.88 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.12 |  | 1.12 | l = attained frequency
[36 empty] | 25.88 |  | 26 |  | E = | 85.68% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.12
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.1735 | if E = 1
Xn = Xo(2)n = Xo(1+E)Ct
[37 empty] | Ct Start (or relative zero) |  |  |  | 1
[37 empty] | 26 |  | Cts away from idealty |  | 2 | f = dilution factor between samples
[36 empty] | Ideal next |  | Observed | 0.01 |  | 1.01 | l = attained frequency
[36 empty] | 27 |  | 27.01 |  | E = | 98.63% | Xn/Xo = (1+E)Ct
[40 empty] | DCT = | 1.01
or again:
[40 empty] | Xn = | 2
[40 empty] | Xn = | 2.0139 | if E = 1
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
(enter any value)
EVERYTHING IN TERMS OF LOG BASE 2 HERE …